## 1. Intro
DOOR AND AUTOMATIC DOOR REPAIR AND MAINTENANCE BID NUMBER H049-23
Request for Proposal
Appendix C
This RFP will cover the procurement of Maintenance, Repair, and Installation Services for Doors and Automatic Doors for UAB Hospital. Doors include, but are not limited to automatic doors, interior swing doors, automatic revolving doors, ICU sliding doors, panic hardware doors, shielded doors, and fire and smoke doors repairs. Door materials include, but are not limited to wooden, aluminum, galvanized steel, full glass, fiberglass, and hollow-metal doors.
UAB is looking for a vendor partner to provide a single contractor to furnish all labor, materials, parts, equipment and to perform all work necessary to maintain, repair, replace, and install doors and automatic doors at UAB Main Hospital and UAB Highlands Hospital. UAB anticipates the need for labor services to average 40 hours per week for one (1) technician (estimated). Technician will split time between UAB Main Hospital and UAB Hospital Highlands based on workload and coordination with UAB Hospital Maintenance staff.
https://www.uab.edu/financialaffairs/doing-business/electronic-bid-bulletin-board
Section | Section Title | Instructions
1 | Intro | This is an introduction/outline of Appendix C of the RFP.
2 | Timeline | Review and Understand
3 | Key | Please refer to this key when reviewing and filling in each section.
4 | Vendor Contact Info | Provide the contact information for a single company representative as instructed.
5 | UAB Requirements | Provide responses and comments as applicable for each section as instructed.
6 | Questionnaire | Provide responses and comments as applicable for each section as instructed.
7 | Implementation Timeline | Please provide an implementation timeline as instructed in this section.
8 | References | Provide references where work of a similar size and nature was performed within the last five (5) years.
9 | Pricing | Fill in this section with proposed pricing. A formal quote must also accompany your RFP submission.
10 | Agreements | Part 1: Review section 3.2(d) of the Request for Proposal and attach any required agreements.
12 | Value Adds | Review section 3.2c of the Request for Proposal and attach any additional Value Add propositions.
Other:
13 | Customer Facilities | This is a listing of UAB Hospital facilities and area by location included in the RFP.
14 | Required Documents | This is a list of documents that are required with your RFP submission.
Please return this Request for Proposal by close of business on the date specified in the Timeline. It is the responsibility of the vendor to ensure that their bid response is received in Hospital Purchasing Department by the opening date/time specified in the Timeline, regardless of the mailing method.

## 2. Timeline
RFP TIMELINE
# | ACTION | OWNER |  | TIME
1 | Issue RFP | UABHS | 2024-05-15
2 | Intent to Bid Deadline | Vendor | 2024-05-30 | 5:00 PM CDT
3 | Mandatory Walkthrough / Facility Tour | UABHS/Vendor | 2024-06-11 | 10:00 AM CDT
4 | Deadline for Formal Questions | Vendor | 2024-06-25 | 5:00 PM CDT
5 | RFP Opening | UABHS | 2024-07-12 | 2:00 PM CDT
6 | Contract Go-Live (estimated) | UABHS/Vendor | TBD (est. 9/1/24)
***Dates are subject to change at UAB's discretion.
Locations for Mandatory Walkthrough / Facility Tours:
UAB Hospital
Address: | Jefferson Tower Room 323 (3rd Floor)
619 19th Street South
Birmimgham, Alabama 35249
Please meet in Jefferson Tower, Room 323 at the date and time specified in the Timeline above.
The UAB Hospital Facility Tour will include three (3) locations. Please see the Facility Tour Schedule below for meeting dates, times and locations. The address for UAB Highlands is listed in the Facilities section. Please meet in the main lobby of UAB Hospital Highlands at the specified times.
Other Information
We wil be on foot during the facility tour, so please wear comfortable shoes.
Please review section 2.2(b) of the RFP for more information regarding visitor and masking policies.
UAB team members will provide general information during the facility tours, but questions will need to be emailed to the buyer email address listed in the RFP by the Deadline for Formal Questions specified in the Timeline.
UAB will not be providing lunch during the walkthroughs, but time has been allotted for lunch. Please plan accordingly.
FACILITY TOUR SCHEDULE
|  | LOCATION | DATE | TIME
MEET AT JT323 FOR UAB HOSPITAL TOUR |  | UAB HOSPITAL - MAIN | 2024-06-11 | 10:00 AM CDT
TOUR MAIN HOSPITAL |  | UAB HOSPITAL - MAIN | 2024-06-11 | 10:00 AM-12:00 PM CDT
FREE TIME FOR LUNCH |  | N/A | 2024-06-11 | 12:00 PM-1:30 PM CDT
MEET AT UAB HOSPITAL- HIGHLANDS |  | UAB HOSPITAL - HLND | 2024-06-11 | 1:30 PM CST
TOUR UAB HOSPITAL - HIGHLANDS |  | UAB HOSPITAL - HLND | 2024-06-11 | 1:30 PM UNTIL - CST

## 3. Key
Key
Please refer to this key when reviewing and filling in each section.
Vendor Response Code Key:
S - Standard to Offering | The requirement/specification is standard to the system/product or service offering and does not require an additional fee or subscription.
N - Not Available | The requirement/specification is not available.
Priority Code Key:
R - Required | This is a required specification for the RFP.

## 4. Vendor Contact Info
VENDOR CONTACT INFORMATION
Please provide the contact information for a single reperesentative within your company for this RFP
Vendor Name | Company Address | First Name | Last Name | Phone Number | Email Address

## 5. UAB Requirements
UAB Requirements
Directions: Please note whether you have complied with the listed specifications in your formal proposal by choosing a response in the drop-down menu in column E. Refer to Section 3 of Appendix C for explanation of each response. Please provide comments as requested. If you select "Not Available (N) " on any response, you must provide an explanation in column E. Please answer each section individually and concisely. Do not refer to another section's comments.
# | Requirement | Priority Code | Vendor Response Code | Vendor Comments
General
1 | Contractor will provide all transportation, labor, material, tools, equipment, and supervision necessary for the repair, installation, replacement, and maintenance services by certified technicians for regular hours and 24/7 on-call services. | R - Required
2 | UAB properties where services will be required are UAB Main Hospital (~3M sq. ft.), UAB Highlands Hospital (~450k sq. ft.), and leased or supported properties and warehouses. UAB reserves the right to add or subtract properties during the contract term as required. Notice of such action shall be given to the Contractor, in writing, thirty (30) days in advance. | R - Required
3 | Contractor shall be responsible for performing repair services and inspections required to maintain all equipment in the operating condition prescribed by the original equipment manufacturers recommended guidelines and UAB. | R - Required
4 | Contractor will conduct business reviews with UAB Hospital Maintenance staff on door assessments and provide recommendations as needed. | R - Required
5 | Contractor will attend, as needed, meetings with UAB Hospital Maintenance on completed, ongoing or upcoming work status and billing. | R - Required
6 | Contractor shall immediately replace any parts or assemblies found to be broken, inoperable or beyond the manufacturer’s specified wear limits. | R - Required
7 | Contractor will utilize, in conjunction with UAB staff, computerized maintenance management system (i.e. electronic work order system). This includes, but is not limited to,, submitting service requests, non-routine work, doors asset inventory, and corrective maintenance into the computerized maintenance system. Instruction and training on electronic work order system will be provided. | R - Required
8 | Contractor and its staff will comply with UAB Hospital’s policies and procedures. | R - Required
Staffing
9 | The Contractor shall use fully trained, qualified technicians with appropriate certifications, where required to perform work. | R - Required
10 | Qualified technicians must complete all work, in a safe and efficient manner, and performed to the highest professional standards. | R - Required
11 | All technician’s professional certificates shall be provided in the bid response. | R - Required
12 | The contractor shall always have in its employ enough staff to properly, safely, promptly, and adequately provide a service. | R - Required
13 | Contractor shall have 24/7 live service desk or call-back service to handle service calls. | R - Required
Schedule
14 | Normal/Routing working hours are 7 AM to 4 PM, Monday-Friday. Certain activities may be required outside these hours and shall be coordinated with the UAB Hospital Maintenance staff. Contractor may be required to work certain holidays or weekends based on the type, severity, or nature of work to be performed. | R - Required
15 | Details of daily, weekly, monthly, and yearly work will be scheduled in accordance with regulatory requirements, equipment manufacturer’s instructions, and in conjunction with UAB Hospital Maintenance staff. | R - Required
16 | Provide 24/7 on-call services by certified technicians. The expected on-site arriving time is within 2 hours of all calls. UAB will reserve the right to use other vendor(s) if response time cannot be met. | R - Required
17 | Contractor shall comply with all the technical provision regarding service schedule(s) and reports. | R - Required
18 | Contractor’s vehicles shall be clearly marked with the company name/logo. | R - Required
19 | Contractor’s personnel shall be in uniform that abides by UAB Hospital dress code. UAB designated contractor badge must always be displayed | R - Required
Rates and Billing
20 | Contractor shall provide labor rate sheet specifying $/hour rate for each type of work to be billed | R - Required
21 | Labor rate sheet will include the following: - Labor Routine Rate - defined as 7am to 4pm, Monday-Friday - Labor Non-Routine Rate - defined as Weekdays after 4pm to 7am, Weekends, and Holidays -Type of Door Repair -Materials/Parts Purchased | R - Required
22 | Contractor shall provide UAB Hospital Maintenance staff with biweekly invoices. | R - Required
23 | Invoices will include the following: -Invoice Date and Invoice Number -Bill and Remit-to address -Dates of Billing Cycle -Labor and Material/Parts costs -Name of Technician/s -Number of hours worked by Technician/s -Type of Labor Rate billed -Description of work performed with Building name and location -For Materials/Parts, description of items purchased and cost of items -Payment terms which comply with the payment of this bid | R - Required
24 | Parts procured will be invoiced to UAB at direct cost. (Contractor may procure stock parts through UAB Hospital Warehouse. If this occurs, parts procured shall not be invoiced and will follow UAB Hospital Warehouse procedures for correct account billing.) | R - Required
25 | UAB Hospital Maintenance staff will determine if the work has been completed in accordance with the specifications and if the invoices are accurate. | R - Required
26 | Contractor shall provide an electronic invoice. | R - Required
27 | Travel time is not billable. | R - Required
Rates and Billing
28 | All communications with UAB and all work approvals will be through UAB Hospital Authorized Representatives (to be provided to the Contractor upon commencement). UAB will only pay for work performed that has been approved and accepted by the UAB Hospital Authorized Representative | R - Required
29 | Official communications and approvals shall be in writing. Oral approvals are not binding. | R - Required
30 | The Contractor is required to provide direct phone numbers for local representatives for immediate contact by UAB Authorized Representatives (national call centers not acceptable). | R - Required
31 | The Contractor shall warranty all labor and materials used in performance of work for a minimum of one (1) year after completion of the repairs, and when applicable, initiate any corrective work needed in response to a warranty item. | R - Required
Key Performance Indicators (KPIs)
Note on E5: Vendor Response Code Key: S - Standard to Offering N - Not Available

## 6. Questionaire
QUESTIONAIRRE
Directions: Please review the questions in column C and provide your response as requested in Column D. We also ask that if you answer "No" on any response that you provide your reason for being unable to comply/respond. Please answer each section individually and concisely. Do not refer to another section's comments (ex: do not write "please refer to the response for Battery powered mobile units").
# | Question | Vendor Comments
Q1 | Provide a brief overview of your company’s history. Include year business was founded, number of employees, locations, number of years offering/supporting the proposed solution.
Q2 | How many customers do you currently have utilizing the services proposed in your RFP submission?
Q3 | What differentiates your company from other companies in the industry?
Q4 | Describe your plan for measuring, monitoring and enhancing customer satisfaction.
Q5 | Describe your experience performing in accordance with Federal, The Joint Commission, State and other local laws and regulations.
Q6 | If selected, how quickly will you be able to provide/implement services?
Q8 | Are there any facility requirements that UAB will need to provide? If yes, please list these in the vendor comments.
Q9 | Does your company have any pending mergers and/or acquisitions that could change your business model.
Q10 | Describe your firm’s understanding of being flexible regarding short notice, off-hours, to meet UAB's needs for providing the products / services detailed in the RFP. Include in your description the ability to work during non-normal business hours (after 5 pm Monday – Friday and weekends).
Q11 | Do you have any previous work history with UAB ?

## 7. Implementation Timeline
Implementation Timeline / Transition Plan
Please insert an estimated Implementation Timeline and detailed transition plan.

## 8. References
References
Instructions: Provide at least three (3) references where work of a similar size and nature was performed within the last five (5) years.
Reference/ Facility Name | Contact Name | Contact Title | Phone Number | Email Address | Hospital Bed Count | Nature of Work

## 9. Pricing
Pricing
Instructions: Please fill in this section with proposed pricing. You may add additional fees as required under the Other Fees" A formal quote must accompany your RFP submission.
Item Description | Price
Labor - Routine Hour- defined as the hourly rate, 7 AM to 4 PM, Monday-Friday
Labor- Non-Routine Rate - defined as the hourly rate, week days afterhours, Weekends, and Holidays
Materials/Parts - Direct Acquisition Cost or Acquisition Cost Plus a % Markup. If Cost Plus, the define the Cost Plus %
Other:

## 10. Agreements
AGREEMENTS
Please review section 3.2d of the Request for Proposal. Vendor must provide a copy of any End-User agreements that will be required before implementation with RFP submission.
Question | Vendor Response | Comments
Do you require any additional documentation (Agreements, etc.) to be signed by UAB?

## 12. Value Adds
VALUE ADDS
Please review section 3.2c of the Request for Proposal and insert any Value-Add propoals here.

## 13. Customer Facilities
Customer Facilities
The following is a listing of UAB Hospital facilities included in the RFP.
Facility Name | Address
UAB Hospital | 619 19th Street South Birmigham, AL 35233
UAB Hospital - Highlands | 1201 11th Ave South Birmingham, AL 35205

## 14. Required Documents
Required Documents
Document Name | Instructions
RFP AGREEMENT | A signed copy of the RFP document must be returned with your submission.
APPENDIX A (Vendor Disclosure Statement, VDS) | Complete the "Vendor Disclosure Statement" (attached to the RFP as Appendix A) and submit a signed copy with RFP response. Failure to provide this document will result in a non-award of the referenced products and/or services.
APPENDIX B (Certification of Compliance with Section Nine of Act 2011-535) | Complete the Certification of Compliance (attached to the RFP as Appendix B) and submit a signed copy with RFP response. Failure to provide this document will result in a non-award of the referenced products and/or services.
APPENDIX C (EXCEL DOCUMENT) | Please complete all sections of Appendix C in the excel document provided. An electronic copy of the completed excel document must be submitted with your RFP submission. Please do not put any password protections on the excel document. You may print out each section of the excel document and include a hard copy with your submission.
IMPLEMENTATION TIMELINE | Please submit an Implementation Timeline.
AGREEMENTS | All license agreements or contracts which must be signed prior to delivery of proposed products and/or service, must be included with the proposal response for review by the Hospital. It is expected that the terms of this RFP will supersede any additional terms of the Vendor. The terms and conditions of any additional agreements must align with the specifications, requirements and terms and conditions of this RFP.
WARRANTY TERMS | Any warranty terms, other than warranties established by the laws of the State of Alabama, must be explicitly provided in Vendor’s response. If applicable, please provide a copy of warranty terms.
VALUE ADDS | Vendors are encouraged to include additional “Value Propositions” or “Value Adds” which might be in the Hospital’s best interest. Please provide
ADDITIONAL DOCUMENTATION | It is the vendor’s sole responsibility to include in its response sufficient product literature, specifications, and other information necessary to completely describe the products and/or services being offered. All license agreements or, contracts, which must be signed prior to delivery of proposed service, must be included with the proposal for review by the Hospital.